## Sheet1
ANNEXURE-I
Bill of Quantities
Misc. Electrical Work like power wiring at Power and Control Lab at Ground Floor of EEE department Extension Block at IITG Campus NIT No.: IITG/IPM/NIT/C/2024-25/57, Dated: 06.01.2025
Sl. No. | Description of Item | Unit | Qty. | Rate in Figure Rs | Rate in word | Amount
1 | Suplly and drawing following sizes of FR PVC insulated copper conductor,single core cable in the existing surface/recess/pVC conduit as required make Havells/Finolex/RR Kabel or equvalent
| ii) 2 x 6 sqmm + 1x 6 sqmm earth wire | mtr | 180
| ii) 4 x 6 sqmm + 2 x 6 sqmm earth wire | mtr | 60
2 | Supplying and fixing following modular type switch/socket on the existing swith box/cover including connection etc.as required make legrand or equivalent
| (a) 15 Amp Switch | pcs | 44
| (b) 15 Amp socket | pcs | 44
3 | Supply and fixing following size/modules GI Box along with modular base & Cover Plate for modular Switches in recess etc as required
| i) 6 module | nos. | 20
4 | Supply and fixing 5amps to 32amp 240/415V 10KA C curve miniatutre ckt braker suitable for inductive load of following poles in the existing MCB DB complete with connection testing and commissioing etc as required
| i) Single pole | nos. | 12
| ii) Double Pole | nos. | 4
| iii) Triple pole | nos. | 4
| iii) Tripole and neutral | nos. | 4
5 | Supply and fixing 30amp 415V TPN industrial type socket outlet with 4 pole and earth metal enclosure plug top along with 20A C curve SP MCB MCB in sheet steel enclosure on surface or in recess with chained metal cover for the socket outlet and complete with testing and commissioining etc as required | nos. | 4
6 | Supply and fixing 20amp 240/415V TPN industrial type socket outlet with 4 pole and earth metal enclosure plug top along with 20A C curve TP MCB MCB in sheet steel enclosure on surface or in recess with chained metal cover for the socket outlet and complete with testing and commissioining etc as required | nos. | 4
7 | Supply and fixing of 20A 240/415V Double pole MCB type changeover switch and complete connection testing and commissioing as required ( make Hager/Haveels or equivalent) | nos. | 4
8 | Supply and fixing of 20A 240/415V four pole MCB type changeover switch and complete connection testing and commissioing as required ( make Hager/Haveels or equivalent) | nos. | 4
9 | Supply and fixing of 25A 240/415V 3 phase 415V 50Hz DOL starter and complete with connection testing and commissioing as required ( make Hager/Havells/or Equivalent | nos. | 8
Total Amount
Discount @...............% ,if any
GRAND TOTAL
Seal
Signature of the Tender
Date :